Adjuvant in the prevention of

Bacteria Viruses Yeasts Molds

Adjuvant in the prevention of

Bacteria Viruses Yeasts Molds

WL-SANIFAST TOP

Powerful high-concentration sanitizer with biocidal action, anti-legionella for civil and industrial drinking water treatment systems

Registered in Germany 
Gemeldetes Biozid-Produkt Class PT5*

DESCRIPTION:

Advanced fast-acting system for the disinfection and stabilization of water intended for domestic use. Broad spectrum bactericidal, biocidal, virucidal. Effective against Legionella Pneumophila and multiple infectiants, thanks to the active biocidal substance based on Chlorine Dioxide much more effective than traditional disinfectants. Product with a high concentration of active ingredient (20,000 ppm of ClO2) ideal for maintenance treatment in domestic water through continuous dosing with special DOSING SYSTEM BASE dosing pumps. In fact, this treatment makes it possible to guarantee over time a continuous dosage of active ingredient in a concentration between 0.2 and 0.5 ppm (the latter legal limit for domestic water), thus ensuring safe disinfection over time and the total absence of dangerous microorganisms such as Legionella and Pseudomonas.

PROPERTIES OF CHLORINE DIOXIDE:

Chlorine Dioxide is NOT to be confused with Chlorine or Hypochlorite or common chlorine-based disinfection systems. Unlike the latter, in fact, it does not produce odor, has an excellent residual activity and above all does not act by chlorination but by oxidation, penetrating the cell wall of bacteria and thus eliminating pathogenic organisms. It is much faster (dozens of times) than traditional systems (e.g. chlorine, glutaraldehyde or quaternary salts). It is stable over a very wide pH range (up to pH 12).

For these properties it is intended for the treatment of surface water for human consumption. In fact, it is used on an industrial scale in the treatment of groundwater, surface water, in the elimination of contaminants due to the presence of Iron and Manganese, in the animal breeding industry, in hospitals, outpatient clinics, schools, industrial facilities, representing an excellent disinfection and prevention device. WL-SANIFast TOP, destroys biofilms in tanks, pipes, and all surfaces in contact with water, eliminating pathogens that form and reproduce, giving rise to the spread of Legionella Pneumophila in hot water systems, and in cooling towers. It eliminates sulphate-reducing bacteria and aerobic and anaerobic bacteria present in biological sludge (bioslime). Its action drastically reduces metal corrosion phenomena, helping to improve the circulation and efficiency of heat exchangers.

MAIN FIELDS OF USE:

Drinking water:

•	Disinfection

•	Control of Trihalomethanes THMs

•	Oxidation of Iron and Manganese

•	Improved sludge sedimentation

•	Turbidity and color reduction

•	Oxidation of organic pollutants (pesticides, phenols, etc.)

•	Algae removal and elimination of unpleasant odors.

Industrial plants and wastewater:

•	Cooling circuits, evaporative towers, etc.

•	Paper industry, waste and feed water, pulp bleaching, control 	of odors

•	Oxidation of organic pollutants (surfactants, phenols, sulphides, cyanides, nitrites, hydrocarbons, etc.).

Oil Facilities:

•	Odor and injection water control

•	Control of sulfate-reducing bacteria

•	Microbiological Sludge Control

•	Oxidation of hydrogen sulphide.

Food production:

•	Wash, primary and process water disinfection for industrial uses

•	Cooling and wastewater disinfection

•	Disinfection of containers

•	Reverse osmosis.

Reverse osmosis: Applications of chlorine dioxide (ClO2) in desalinators, potalizers, etc.

Advances in osmotic membrane technology are driving research to improve cleaning and disinfection methods. The deposition of substances (encrustations and organic substances in the form of biofilms) leads to a decrease in performance and an increase in energy consumption. Different populations of bacterial species (organic substances) can proliferate in the conditions in which water is found in membrane plants. Large surfaces are available and microorganisms cling and proliferate on them. These highly adaptable life forms derive their nutrition from running water and protect themselves from damage by producing extra cellular materials; some, in fact, are defined by microbiologists as "producing silt".

This sticky biofilm must be removed from the surfaces of the reverse osmosis membrane through cleaning and disinfection processes. The choices of a biocide or disinfectant agent are often restricted by the need to produce drinking water, which generally means: chlorine, peroxides, and chlorine dioxide.

Recent basic results have shown that chlorine dioxide can be very effectively used to disinfect reverse osmosis membranes without causing damage to them or to the quality of the water produced. The key to this success lies in the method of producing chlorine dioxide and the constant stability of the concentration at very low levels.

Below is a summary of the properties of chlorine dioxide ClO2 that suggest its use for membrane implants:

-	Effective at concentrations < 1.0 ppm (mg/l).

-	Capable of penetrating biofilms and attacking organisms living on surfaces.

-	Capable of permeating through the membrane and disinfecting the structure of 	filter support.

-	It delays the reflowering of biofilms, promoting a longer life span of the plant.

-	It keeps the flow while requiring minimal energy expenditure.

-	It can minimize, if not eliminate, the need for certain pre-filters that are themselves 	sources for the re-inoculation of running water before reverse osmosis membranes.

REPORT ON THE ANTIMICROBIAL EFFICACY OF CHLORINE DIOXIDE

(recommended times for a minimum efficacy of 99.99 %)

| Major microorganisms | ppm concentration (parts per million) or mg/lt | Contact time |
| --- | --- | --- |
| Aspergillus fumigatus | 200 | 60 seconds |
| Bacillus cereus (spore) | 200 | 5 minutes |
| Escherichia coli | 100 | 30 seconds |
| Legionella pneumophila | 25 | 60 seconds |
| Pseudomonas aeruginosa | 500 | 10 minutes |
| Candida albicans | 100 | 60 seconds |
| Salmonella Tiphimurium | 100 | 60 seconds |
| Streptococcus faccium | 100 | 60 seconds |
| Staphylococcus aureus | 93 | 60 seconds |
| Salmonella choleraesius | 500 | 10 minutes |
| Canine parvovirus | 500 | 10 minutes |
| Proteus vulgaris | 100 | 60 seconds |

N.B.: Chlorine dioxide is internationally recognized as a drinking water agent and therefore able to neutralize Vibrio Cholerae (cholera). The concentrations of use vary according to the type of disinfection to be carried out and the degree of contamination of the water.

HOW TO USE:

LIQUID PRODUCT – concentration 20,000 ppm (2%)

Product A+B (liquid). The product can also be partially dosed as long as it is in equal doses of product A and B.

Dosages: 1 litre of part A + 1 litre of part B (premixed in about 10 litres of water) produce about 40,000 litres of water at 0.5 ppm of free chlorine dioxide (legal limits). Higher dosages are preferable depending on the bacterial load present. Before using water, use the colorimetric KIT to ascertain the amount of free chlorine dioxide in ppm (parts per million), which for complete disinfection must be 0.2 - 0.4 ppm and MUST NOT EXCEED 0.5 ppm of residual ClO2.

MATERIAL COMPATIBILITY:

Stabilised solutions of Chlorine Dioxide with concentrations from 0.1 % to 20 % can be stored or preserved for a long period at room temperature (12 - 18 °C) in plants made of the following materials:

CONTAINERS AND TANKS: 				PUMPS AND PIPING:

Titanium                      						13 Cr Steel - 22 Cr Steel

6-Mo Steel                                   				316 L Stainless Steel

Phenolic resins                                                              	Hastelloy alloys

Fiberglass (vinyl ester resins with UV protection)     	Fluorosilicone

PTFE Nylon  Hypalon - PVC - HDPE           			PVC - HDPE

ELASTOMERS:                                                 		SURFACES AND WORKTOPS:

Viton                                       				316 L Stainless Steel

Fluorosilicone                                                 		Phenolic resins

EFF                                                  				Nylon

Kalrez                                                            		PVC - HDPE - PTFE

NON-COMPATIBLE MATERIALS:

Clear glass

PET - Thin-walled LDPE

Carbon Steel - 304 Stainless Steel

Aluminium - Copper alloys

Natural rubbers - nitrile - neoprene - EPDM - polyurethane

Concentrations below 100 ppm (such as ClO2) are compatible with most materials commonly used in plants. In any case, aluminum and copper alloys remain not recommended.

Important Note: Material compatibility information reflects current knowledge and may vary depending on certain parameters such as temperature, design and manufacturing characteristics. They can be considered valid in a temperature range from 5 °C to 60 °C. Do not allow SANIFast solutions to evaporate or dry out.

PACKS:

Item code WLSANITOPK020, 20 lt + 20 lt jerry cans, boxes of 1 pc.

CERTIFICATIONS AND REGISTRATIONS:

| - BAuA N. Code 98762 Notified biocidal product * Biocide class PT5 Drinking water |  | www.baua.de/DE/Biozid-Meldeverordnung/Offen/offen.html |
| --- | --- | --- |

Last update: 04.11.2021